## Department
name | description
Production | Production
Maintenance | Maintenance
QCA & Safety | QCA & Safety
HRDGA | HRDGA
Marketing & Off Site | Marketing & Off Site

## Section
name | description | foreign_department
All Production | All production sections | Production
Mechanical | Part of Maintenance for mechanical equipments (static and rotating) | Maintenance
Electrical & Instrumentation | Part of Maintenance for electrical, instrumentation and control | Maintenance
QCA | Part of QCAS for QA and QC | QCA & Safety
Safety | Part of QCAS for safety | QCA & Safety
HRDGA | HRDGA | HRDGA
Purchasing | Purchasing | Marketing & Off Site
Marketing | Marketing | Marketing & Off Site
Off Site | Off Site | Marketing & Off Site
Dept. Head Production | Dept. Head Production | Production
Dept. Head Maintenance | Dept. Head Maintenance | Maintenance

## User
username | password
frmExe | pbkdf2_sha256$216000$bf4BjBkTHqCR$EQplucWgLJEJ+7Xg363PVHfAepOaM6n0+Kje00D2J7k=
spvExe | pbkdf2_sha256$216000$bf4BjBkTHqCR$EQplucWgLJEJ+7Xg363PVHfAepOaM6n0+Kje00D2J7k=
sptdExe | pbkdf2_sha256$216000$bf4BjBkTHqCR$EQplucWgLJEJ+7Xg363PVHfAepOaM6n0+Kje00D2J7k=
mgrExe | pbkdf2_sha256$216000$bf4BjBkTHqCR$EQplucWgLJEJ+7Xg363PVHfAepOaM6n0+Kje00D2J7k=
mgrOrg | pbkdf2_sha256$216000$bf4BjBkTHqCR$EQplucWgLJEJ+7Xg363PVHfAepOaM6n0+Kje00D2J7k=
SptdOrg | pbkdf2_sha256$216000$bf4BjBkTHqCR$EQplucWgLJEJ+7Xg363PVHfAepOaM6n0+Kje00D2J7k=
spvOrg | pbkdf2_sha256$216000$bf4BjBkTHqCR$EQplucWgLJEJ+7Xg363PVHfAepOaM6n0+Kje00D2J7k=

## Profile
username | forward_path | reverse_path | foreign_section
frmExe | frmExe | spvExe | Electrical & Instrumentation
spvExe | frmExe | sptdExe | Electrical & Instrumentation
sptdExe | spvExe | mgrExe | Electrical & Instrumentation
mgrExe | sptdExe | mgrOrg | Dept. Head Maintenance
mgrOrg | mgrExe | sptdOrg | Dept. Head Production
sptdOrg | mgrOrg | spvOrg | All Production
spvOrg | sptdOrg | spvOrg | All Production

## action
name | description
Close | Has been completed
Open | Just opening
Revise | Need to be revised
Check | Has been checked
Re-check | Need to be re-checked
Approve | Approved
Reject | Rejected due to any reasons
Review | Reviewed
Need shutdown | Need shutdown
Need materials | Need materials
Need MOC | Need MOC
Need Regulations | Need Regulations
Schedule | Scheduled
Return | Returned due to any reasons
Complete | Order completed
Execute | Put on executed board
Finish | Just finishing
In progress | In progress
Cancel | Canceled during execution

## status
name | description
Close | Has been completed
Open | Just opening
Revise | Need to be revised
Check | Has been checked
Re-check | Need to be re-checked
Approve | Approved
Reject | Rejected due to any reasons
Review | Reviewed
Need shutdown | Need shutdown
Need materials | Need materials
Need MOC | Need MOC
Need Regulations | Need Regulations
Schedule | Scheduled
Return | Returned due to any reasons
Complete | Order completed
Execute | Put on executed board
Finish | Just finishing
In progress | In progress
Cancel | Canceled during execution

## ProfileAction
username | action
frmExe | Finish
frmExe | In progress
frmExe | Cancel
spvExe | Return
spvExe | Complete
spvExe | Execute
sptdExe | Need shutdown
sptdExe | Need materials
sptdExe | Need MOC
sptdExe | Need Regulations
sptdExe | Schedule
sptdExe | Reject
mgrExe | Reject
mgrExe | Review
mgrOrg | Re-check
mgrOrg | Approve
sptdOrg | Revise
sptdOrg | Check
spvOrg | Close
spvOrg | Open

## group
name
FRM_EXE
SPV_EXE
SPTD_EXE
MGR_EXE
MGR_ORG
SPTD_ORG
SPV_ORG

## PlantArea
name
Syngas
Ocanol
Utility
Tank Yard
Admin
OSBL
Central Control Room
Rack Room
Local Substation (LSS)
Main Substation (MSS)
Laboratory
Safety
Maintenance
Kantin
Truck Loading
Jetty

## PlantUnit
name | foreign_area
Desulphurization/ Reforming
C02 Removal
Membrane Unit
PSA Unit
Guard Bed
Oxo Reaction Section
Oxo Reaction Section
Oxo Reaction Section
Oxo Reaction Section
Aldehyde Separation Section
Aldehyde Separation Section
Aldehyde Separation Section
Catalyst Recovery Section
Catalyst Recovery Section
Catalyst Recovery Section
Catalyst Recovery Section
Catalyst Recovery Section
Catalyst Recovery Section
Condensation Reaction Section
Condensation Reaction Section
Condensation Reaction Section
2EH Section
2EH Section
2EH Section
2EH Section
2EH Section
2EH Section
NBA Section
NBA Section
NBA Section
NBA Section
NBA Section
NBA Section
IBA Section
IBA Section
IBA Section
IBA Section
IBA Section
Propylene Receiving
Product Stroge & Shipping
Laboratory Facilities
Maintenance Facilities
Safety/ Fire Fighting Facilities
Administration Facilities
General
WWT (Activated Sludge)
WWT (Incinerator)
Power Generation & Distribution
Boiler
Water receiving, potable water & Demin Water
Cooling Water & Chilled Water System
Flare system
Fuel gas/ Fuel Oil System
WWT in Process Area
WWT in Process Area
Plant air, Instrument air, N2 distribution system
49

## EqpCategory
name
Electrical
Instrumentation
Controller
Facility
Mechanical
Civil
IT
Furniture
General

## EquipmentName
name | foreign_category
Battery Charger | 1
Capacitor Bank | 1
Cathodic Protection | 1
Centrifugal Compressor | 1
Emergency Diesel Generator | 1
Lighting | 1
MCC | 1
Motor - DC | 1
Motor - AC | 1
Motor - Stepper | 1
Neutral Grounding System | 1
Switchgear | 1
Transformer | 1
UPS | 1
Computer | 3
DCS | 3
HMI | 3
PHD | 3
PLC | 3
Air Damper | 2
Analyzer | 2
Control Valve | 2
Flow Transmitter | 2
Gas Detector | 2
Impact Transmitter | 2
Level Gauge | 2
Level Switch | 2
Level Transmitter | 2
On Off Valve | 2
Pitch Control | 2
Positioner | 2
Press. Transmitter | 2
Pressure Gauge | 2
Pressure Switch | 2
Rod Drop | 2
Solenoid Valve | 2
Temperature Gauge | 2
Temperature instrument | 2
Temperature Switch | 2
Vibration Switch | 2
Air Cooled Heat Exchanger | 5
Blower | 5
Canned Pump | 5
Centrifugal Compressor | 5
Centrifugal Pump | 5
Convection Coil Heater | 5
Drum | 5
Ejector | 5
Filter | 5
Metering Pump | 5
Plate Heat Exchanger | 5
Reactor | 5
Reciprocating Compressor | 5
Screw Compressor | 5
Separator | 5
Shell & Tube Heat Exchanger | 5
Tank | 5
Tower | 5
Air Conditioner | 4
Fire Alarm | 4
HT | 4
PABX | 4
Paging System | 4
Tool | 4
Building | 6
Road | 6
Foundation | 6
General | 9

## Sparepart
name
3 Way Ball Valve
AC Capacitor
Air Conditioning
Ammeter
Analog Input Module
Analog Output Module
Axial Fan
Ball Valve
Ballast
Barrier
Bearing
Blind Flange
Bonnet Gasket
Boss
Bostel
Butterfly Valve
Cable Instrument
Cable NFYGBY
Cable NYA
Cap
Capacitor
Check Valve
Coil Contactor
Compressor AC
Connector
Contactor
DC Capacitor
Diaphragm
Differential pressure Indicator
Differential Transmitter electronic
Differential Transmitter Pneumatic
Digital Input Module
Digital Output Module
Diode
Disc
Displacement Type Level Instrument
Electromagnetic Flowmeter
Ferrule
Filter regulator
Flange
Float Type Level Switch
FTA module
Full Coupling
Fuse
Gasket
Gate Valve
Gland Packing
Globe Valve
Globe Valve
Heat detector
Hose
HPM module
I/P Conventer
IC
Indicator Lamp
Infrared Gas analyzer
Infrared Gas analyzer
Kabel ties
Leakage Gas Monitoring System
Level Gage
Lighting
Mass Flowmeter
MCCB
Micro Switch
Nipple
Oil Seal
On-Off Valve
O-ring
Over load
Oxigen Gas analyzer
PGC
Ph Meter
Pipe
Piston Ring
Plug
Positioner
Positive Displacement Flowmeter
Potential Tester lamp
Pressure Controller
Pressure Gauge
Pressure Switch
Pressure transmitter
Push Button
Rechargeable Battery
Relay
Resistor
Rider Ring
Rotary Valve
RTD
RTD
Schoen Cable
Seat Ring
Selector Switch
Sepam
Shunt Trip Coil
Smoke detector
Soft Seat
Solenoid Valve
Solid State relay
Spring
Spring
Steam trap
Strainer
Stub End
Stud Bolt & Nut
Tank Gage
Temperature Gauge
Termocouple
Thermocouple
Timer Off Delay
Timer On Delay
Tubing
Turbine Flowmeter
U-bolt
UPS
Valve
Variable Area Flowmeter
V-Belt
V-belt
Volt meter
Vortex Flowmeter

## Tool
Tagnumber | Description
VARCHAR(10) | VARCHAR(100)
PRIMARY
5 | 93
TI001 | Anak Timbangan 0.5 kg (500g) | 28
TI002 | Anak Timbangan 1 kg | 19
TI003 | Anak Timbangan 10 kg | 20
TI004 | Anak Timbangan 2 kg | 19
TI005 | Anak Timbangan 20 kg | 20
TI006 | Analog Multitester Sanwa SP-15D | 31
TI007 | Analog Multitester Sanwa YX-360 TRD | 35
TI008 | Analog Multitester Sanwa YX-360 TRF | 35
TI009 | Bearing Tracker besar Elora | 28
TI010 | Bearing Tracker kecil Baldur Nr. 1. 13/02 | 41
TI011 | Bearing tracker sedang Facom U-20B Pul .3-leg 25-260MM | 55
TI012 | bender conduit pipe 3/4" Krisbow | 32
TI013 | Bender tube 1/2" OD tube Asian First barand CT-304A-08 | 54
TI014 | Bender tube 16mm OD tube Asian First barand CT-364M-16 | 54
TI015 | Bender tube 8mm OD tube Asian First barand CT-364-5/16"-8mm | 59
TI016 | Bending Copper Ridgit 3/8mm | 28
TI017 | Bending Copper Ridgit 8mm | 26
TI018 | Bending Copper Ridgit 12mm | 26
TI019 | Bending Tube Usag 6mm 316011 | 28
TI020 | Blind flange 4" Cat warna putih | 31
TI021 | Brain Terminal - Yokogawa BT-220 s/n. F492GB703-838 | 51
TI022 | Bukaan kabel Facom P/N 163 | 26
TI023 | Cable fault locator Locat 220 | 30
TI024 | Cable prep HCT 188 | 18
TI025 | Cable prep HCT 211 | 18
TI026 | Cable prep ukuran besar AK-100 | 30
TI027 | CCTV + kabel | 13
TI028 | Chain Block 2 ton | 18
TI029 | Chain Block 3 ton | 18
TI030 | Chain Block 1 ton C-21 Elephant | 31
TI031 | Chipmaster IC tester ABI electronic | 36
TI032 | Clamp current tester - Fluke 36 | 31
TI033 | Crimp Tool Taiwan 53567 | 25
TI034 | Crimping pliers hand crimping tool 6-50mm2 Krisbow | 51
TI035 | Current probe osciloscope Fluke 80i-1000 S | 42
TI036 | Cutter tube Ridgit no. 150 1/8" ~ 1 1/8" OD | 43
TI037 | DC V Current Standart Yokogawa 2554 | 35
TI038 | Decade Resistance Box YEW 2793-01 | 34
TI039 | Digital AC clamp meters - Kyoritsu model 2002PA S/N 123515154 | 61
TI040 | Digital clamp meter Kyoritsu model 2007A S/N. 0158635 | 53
TI041 | Digital Mega Ohm Hitester Hioki 3454-11 250V~1000V No. 080311583 | 64
TI042 | Digital Multimeter - Fluke-8060A s/n. 6794063 | 45
TI043 | Digital multimeter Fluke 179 (probe TC + lead) s/n. 96160084 | 60
TI044 | Digital multimeter Fluke 179 (probe TC + lead) s/n. 96350162 | 60
TI045 | Digital Thermometer with stick probe + ext. cable - Yokogawa YEW 2455-15 | 73
TI046 | Documenting Process Calibrator - Fluke 702 s/n. 6910416 | 55
TI047 | D-shackles Galvanized steel dia s=3/4" | 39
TI048 | D-shackles Galvanized steel dia s=3/8" | 39
TI049 | Dual Display Multimeter Fluke 45 | 33
TI050 | Eart tester Megger DET5/4D AVO Int. | 36
TI051 | Elbow spoll 2" Cat warna putih | 30
TI052 | Elbow spoll 3" Cat warna putih | 30
TI053 | Elbow spool 4" Cat warna putih | 30
TI054 | Eprom Emulator Eltch model EE-02 | 32
TI055 | Eprom Eraser EEG-5 | 18
TI056 | Eprom Programer MEP 801 | 23
TI057 | Flange 8" Cat warna putih | 25
TI058 | Flowmeter PGC 0.05~0.5 & 0.2~1.2 LPM | 36
TI059 | Function Generator Thurlby TG.230 | 33
TI060 | GPS MAP Model 420s with SD card 4GB and transducer s/n. 1F9002096 versi indonesia mfg. GARMIN | 93
TI061 | Hand bor Makita 220VAC | 23
TI062 | Hand Communicator - Merlin Gerin TSM 2001 s/n. 1888877R | 55
TI063 | Hand held terminal - Sakura endress HHT-2-A | 43
TI064 | Hand Held Ultrasonic Flowmeter Model no. STUF-300H Serial no. 81101362H | 72
TI065 | Handy Talky GP-68 + charger EI-10 S/N. 477 TXQ C853 | 51
TI066 | Handy Talky GP-68 + charger EI-13 S/N. 477 TXN 2579 | 51
TI067 | Handy Talky GP-68 + charger EI-14 S/N. 477 TXN 6462 | 51
TI068 | Handy Talky GP-68 + charger EI-2 S/N. 477 TXN 6465 | 50
TI069 | Handy Talky GP-68 + charger EI-4 S/N. 477 TXU B295 | 50
TI070 | Handy Talky GP-68 + charger EI-8 S/N. 477 TXN 2312 | 50
TI071 | Hart Field Comm. Protocol - Fisher Rosemount Sys. 275-0003-0500 s/n.9942-0640A | 78
TI072 | High Voltage Insulation Hitester - Hioki 3455 s/n. 080520467 | 60
TI073 | Hole saw dia 54mm | 18
TI074 | Hole saw dia. 25mm | 19
TI075 | Hole saw dia. 37mm | 19
TI076 | Hole Saw ASH Japan Dia. 30mm | 28
TI077 | Hole Saw ASH Japan Dia. 48mm | 28
TI078 | Hole Saw Dia. 27mm | 18
TI079 | Hole Saw Japan Dia. 22mm | 24
TI080 | Hole Saw Japan Dia. 27mm | 24
TI081 | Hole Saw Japan Dia. 33mm | 24
TI082 | Hole Saw Japan Dia. 42mm | 24
TI083 | Hole Saw Japan Dia. 60mm | 24
TI084 | Humidity & Temp. Meter Extech Instr. model 4465CF | 49
TI085 | IC Tracker 424-030 16 way Germany | 33
TI086 | IC Tracker 424-282 28 way Germany | 33
TI087 | IC Tracker 424-298 40 way Germany | 33
TI088 | Impact meter + probe IT6810-001 Metrix 6850-001 for use IT6810, IT6811 or IT6812 | 80
TI089 | Kunci Bintang King Tony torx wrench set | 40
TI090 | Kunci inggris 10" Aigo | 23
TI091 | Kunci inggris 10" Nicholson | 27
TI092 | Kunci inggris 10" PromateUSA | 28
TI093 | Kunci inggris 12inch Facom | 26
TI094 | Kunci inggris 6" Aigo | 21
TI095 | Kunci inggris 6" Sellery | 24
TI096 | Kunci inggris 8" Bullock | 24
TI097 | Kunci L 22mm | 14
TI098 | Kunci L Tegangan Tinggi Catu 10mm MO-69910 | 43
TI099 | Kunci L Tegangan Tinggi Catu 12mm MO-69912 | 43
TI100 | Kunci L Tegangan Tinggi Catu 3mm MO-69903 | 42
TI101 | Kunci L Tegangan Tinggi Catu 4mm MO-69904 | 42
TI102 | Kunci L Tegangan Tinggi Catu 5mm MO-69905 | 42
TI103 | Kunci L Tegangan Tinggi Catu 6mm MO-69906 | 42
TI104 | Kunci L Tegangan Tinggi Catu 8mm MO-69908 | 42
TI105 | Kunci L (Long) set size: (2-10)mm "Germany" (8pcs) | 50
TI106 | Kunci L (Long) set size: (5/64"-3/8")mm "Germany" (8pcs) | 56
TI107 | Kunci L Facom 3/4" 83H.19 | 25
TI108 | Kunci L set Chrome vanadium 2-10mm (8pcs) | 41
TI109 | Kunci L set Chrome vanadium 5/64"-3/8" (8pcs) | 45
TI110 | Kunci L untuk PGC 2.5mm, 3mm, 6mm | 33
TI111 | Kunci L Walter Germany CrV DIN 911 (9mm) | 40
TI112 | Kunci Pas Asahi 30mm | 20
TI113 | Kunci pas ring 10mm Aigo | 24
TI114 | Kunci pas ring 10mm Bullocks | 29
TI115 | Kunci pas ring 10mm diamond | 27
TI116 | Kunci pas ring 10mm King Tony | 29
TI117 | Kunci pas ring 12mm Aigo | 24
TI118 | Kunci pas ring 12mm bullocks | 28
TI119 | Kunci pas ring 12mm King Tony | 29
TI120 | Kunci pas ring 13mm Aigo | 24
TI121 | Kunci pas ring 13mm chrome vanadium | 35
TI122 | Kunci pas ring 13mm King Tony | 29
TI123 | Kunci pas ring 14mm Bullocks | 29
TI124 | Kunci pas ring 17mm Aigo | 24
TI125 | Kunci pas ring 17mm King Tony | 29
TI126 | Kunci pas ring 17mm Sellery | 27
TI127 | Kunci pas ring 19mm King Tony | 29
TI128 | Kunci pas ring 19mm Krisbow | 28
TI129 | Kunci pas ring 19mm Sellery | 28
TI130 | Kunci pas ring 22mm King Tony | 29
TI131 | Kunci pas ring 22mm Sellery | 27
TI132 | Kunci pas ring 24mm King Tony | 29
TI133 | Kunci pas ring 27 mm bullocks | 29
TI134 | Kunci pas ring 27 mm Sellery | 28
TI135 | Kunci pas ring 27mm Aigo | 24
TI136 | Kunci pas ring 3/8" Krisbow | 27
TI137 | Kunci pas ring 30mm King Tony | 29
TI138 | Kunci pas ring 32mm King Tony | 29
TI139 | Kunci pas ring 7mm Aigo | 23
TI140 | Kunci pas ring 7mm King Tony | 28
TI141 | Kunci pas ring 8mm Crossman | 27
TI142 | Kunci pas ring inch Facom 1/4 inch | 34
TI143 | Kunci pas ring inch Facom 11/16 inch | 36
TI144 | Kunci pas ring inch Facom 11/32 inch | 36
TI145 | Kunci pas ring inch Facom 3/4 inch | 34
TI146 | Kunci pas ring inch Facom 3/8 inch | 34
TI147 | Kunci pas ring inch Facom 5/8 inch | 34
TI148 | Kunci pas ring inch Facom 7/16 inch | 35
TI149 | Kunci pas ring inch Facom 7/8 inch | 34
TI150 | Kunci pas ring inch Facom 9/16 inch | 35
TI151 | Kunci pas ring inch King Tony 1/2 inch | 38
TI152 | Kunci Pipa 10" Prohex | 21
TI153 | Kunci pipa 12" Prohex | 22
TI154 | Kunci pipa 12" Promate USA | 26
TI155 | Kunci Pipa 12" Ritco | 20
TI156 | Kunci Pukul pas Usag 32mm | 25
TI157 | Kunci Pukul pas Usag 36mm | 25
TI158 | Kunci Pukul ring Elora 22mm | 28
TI159 | Kunci Pukul ring Elora 27mm | 28
TI160 | Kunci Pukul ring stang Usag 32mm | 32
TI161 | Kunci Pukul ring stang Usag 36mm | 32
TI162 | Kunci Pukul ring stang Usag 41mm | 32
TI163 | Kunci set L panjang Facom P/N 82H. 10 HOP | 41
TI164 | Kunci set L panjang Facom P/N 83H. 1/2HOP | 41
TI165 | Kunci set L panjang Facom P/N 83H. 10 HOP | 41
TI166 | Kunci set L panjang Facom P/N 83H. 12 HOP | 41
TI167 | Kunci set L panjang Facom P/N 83H. 14 | 38
TI168 | Kunci set L panjang Facom P/N 83H. 3 HOP | 40
TI169 | Kunci set L panjang Facom P/N 83H. 3/16HOP | 42
TI170 | Kunci set L panjang Facom P/N 83H. 3/8HOP | 41
TI171 | Kunci set L panjang Facom P/N 83H. 5 HOP | 40
TI172 | Kunci set L panjang Facom P/N 83H. 5/16HOP | 42
TI173 | Kunci set L panjang Facom P/N 83H. 7 HOP | 40
TI174 | Kunci set L panjang Facom P/N 83H. 7/6HOP | 41
TI175 | Kunci set L panjang Facom P/N 83H. 8 HOP | 40
TI176 | Kunci set L pendek Facom 82H-JU series | 38
TI177 | Kunci torsi Kanon 3/8" Cap 450 Kgf.cm | 38
TI178 | Labeling Machine DYMO 1000 | 26
TI179 | Linear IC tester ABI electronic | 32
TI180 | Machine condition advisor Model No. CMAS 100-SL SKF S/N. 089466 | 63
TI181 | Meteran 5m ATS hardware | 23
TI182 | Meteran 5m Bullock | 18
TI183 | Motor Checker Nikkiso Co Ltd RT-01 | 34
TI184 | Motor tester - SPM Instrument EMC-11 s/n. 9737003 | 49
TI185 | Non contact Temperature Raytek raynger plus | 43
TI186 | Obeng (-) besar dia 8mm panjang 195mm | 37
TI187 | Obeng (-) minus Prohex 6mmx6" (no. 7 & 8) | 41
TI188 | Obeng (-) Sanvik belzer BE-8010S 0.4x2.5x75 | 43
TI189 | Obeng (-) Vessel 6600 6-100 | 27
TI190 | Obeng (+) Dia. 6mmx150mm Jtech | 30
TI191 | Obeng (+) Plus Prohex 6mmx6" (no. 3 & 4) | 40
TI192 | Obeng (+) Vessel 6600 P.2-100 | 29
TI193 | Obeng flexible Facom P/N 827 | 29
TI194 | Obeng kecil (+) Facom AEFP 00x75 France | 39
TI195 | Obeng Ketok NJ.261M Facom | 25
TI196 | Obeng listrik warna merah | 25
TI197 | Obeng Minus (-) Metrix 713-461-2131 1.5x75mm | 44
TI198 | Obeng Minus (-) size 0.4x2.5x75 Unior No. 605 | 46
TI199 | Obeng Minus (-) size 0.5x3.0x100 Unior No. 602 | 46
TI200 | Obeng Minus (-) uk. (dia. 6 x 150)mm "Prohex" | 45
TI201 | Obeng offset Facom P/N ARZ-4 | 28
TI202 | Obeng plus (+) Walter germany 3270-2 PH 2x100 | 45
TI203 | Obeng pukul (+) 8x150mm CR-VAN Fully Hardened | 45
TI204 | Obeng Set Tegangan Tinggi (+)=1pcs, (-)=2pcs | 44
TI205 | Obeng tegangan tinggi (-) Walter 1000V 1.2x6.5x150 | 50
TI206 | Obeng tegangan tinggi (-) Walter 1000V 1.2x6.5x150 | 50
TI207 | Obeng tegangan tinggi (-) Walter 1000V 1x5.5x125 | 48
TI208 | Obeng tegangan tinggi (-) Walter 1000V 1x5.5x125 | 48
TI209 | Obeng tegangan tinggi (+) Walter 1000V 2x100 | 44
TI210 | Obeng tegangan tinggi (+) Walter 1000V 2x100 | 44
TI211 | Osciloscope Fluke PM3380B | 26
TI212 | Palu karet Dia 75120mm | 23
TI213 | Pemberat (kalibrasi T.gage) SUS316 115.57 gram | 46
TI214 | Pemberat (kalibrasi T.gage) SUS316 115.57 gram | 46
TI215 | Pemberat (kalibrasi T.gage) SUS316 403.31 gram | 46
TI216 | Pemberat (kalibrasi T.gage) SUS316 403.31 gram | 46
TI217 | Pembesar Tubing AC | 19
TI218 | Pembuka control valve Neles controls Set Code 7814-3 & 260155 | 61
TI219 | Pengambil Gland Packing Martin Merkel | 37
TI220 | Phase Rotating Tester Multivolt PSI-700 | 39
TI221 | Piller Facom 8048 | 17
TI222 | Plat pengukur Facom P/N 804U | 29
TI223 | Portable radiation (pyrometer) Thermometer IR-AHIS no. AH979S022 Chino | 70
TI224 | Portable Vacuum Tester Ametek T-750 with PG -30~0 in HG & 0~30 inHG | 67
TI225 | Precision Pressure Calibrator - Ametek T-620 | 44
TI226 | Rechargeable emergency light 2x10W "CMOS" model233A 220~240VAC battery 6V4AH | 76
TI227 | Remote Transmitter Interface - Oval EK-10 | 41
TI228 | Sarung tangan high voltage - electro soft class 2 (20KV) size 10 | 64
TI229 | Scriber Facom P/N 234U | 23
TI230 | Senter Mighty light Model BF-797N/M 4xDsize Panasonic | 53
TI231 | Senter ultra light Model BF-107N/M 3xDsize Panasonic | 52
TI232 | Smart Comunicator - Yamatake Honeywell SFC 260-13X-XC s/n. SFC 7553 | 67
TI233 | Smart Comunicator - Yamatake Honeywell. SFC 260-13X-XC s/n. SFC 7552 | 68
TI234 | Smart Comunicator Yamatake Hon. SFC 260-13X-XC s/n.7481 | 55
TI235 | Smart Comunicator Yamatake Hon. SFC 260-13X-XC s/n.7552 | 55
TI236 | Snorklift MHP-12E | 18
TI237 | Special tool Pembuka transmitter FT N2 Krohne PKG | 49
TI238 | Special tool Pembuka transmitter LT tank gage | 45
TI239 | Spoll reduce 4" x 2" Cat warna putih | 36
TI240 | Spoll reduce 6" x 3" Cat warna putih | 36
TI241 | Spool 1,5" Cat warna putih | 26
TI242 | Spool 2" Cat warna putih | 24
TI243 | Spool 2,5" Cat warna putih | 26
TI244 | Spool 3" Cat warna putih | 24
TI245 | Spool 8" Cat warna putih | 24
TI246 | Sport Timer Niko no.2040958 | 27
TI247 | Tachometer Ametek 1726 | 22
TI248 | Tang betet Facom 176A | 21
TI249 | Tang cucut Facom P/N 432-LMT | 28
TI250 | Tang Kombinasi size 8" "Unior" | 31
TI251 | Tang kombinasi Bullocks 8" | 26
TI252 | Tang Kombinasi Size 8" Wipro | 28
TI253 | Tang Pengupas Kabel Vessel 3000 B | 34
TI254 | Tang potong Elora 392-160 | 25
TI255 | Tang potong Prohex 7-1/2" | 25
TI256 | Televisi hitam putih Nikko 12VDC | 32
TI257 | Torque for equipment DCS HoneyWell P/N 51109612 (1/2") | 54
TI258 | Torque for equipment DCS HoneyWell P/N 51109612 (15/8") | 55
TI259 | Torque for equipment DCS HoneyWell P/N 51109612 (7/16") | 55
TI260 | Tracer fan dua kaki Facom U.301 | 32
TI261 | Tracer Fan Elora | 17
TI262 | Universal Freq. Counter Fluke 6685/011 | 39
TI263 | Vacum Pressure Pump KNF Neuberger model UN726.3 TTP 230V 50Hz 1A | 64
TI264 | valve Cat warna putih | 21
TI265 | Video sender Raiden UT-66 | 25
TI266 | Wrist Strap 3M 4650 | 19

## Req.Category
ReqCatId | ReqCategory | ReqCatInitial
INTEGER not NULL | VARCHAR(50) | VARCHAR(5)
PRIMARY
1 | PM | PM
2 | PdM - Logsheet | PdM
3 | MWR | MWR
4 | MOC | MOC
5 | Plant Patrol | PP
6 | Other | OTH